## Sheet1
Component | Substrate | Side | Condition | Color | Site | Floor | Room | Misc 1 | Misc 2 | Results | Lead (mg/cm2)
CALIBRATE | [9 empty] | Positive | 1.1
CALIBRATE | [9 empty] | Positive | 1
CALIBRATE | [9 empty] | Positive | 1
FLOOR | TILE | A | INTACT | GREY | 1800 SOLAR DR | FIRST | LOBBY |  | A IS SOLAR DR | Negative | 0
FLOOR | TILE | B | INTACT | GREY | 1800 SOLAR DR | FIRST | LOBBY |  | A IS SOLAR DR | Negative | 0.01
FLOOR | TILE | C | INTACT | GREY | 1800 SOLAR DR | FIRST | LOBBY |  | A IS SOLAR DR | Negative | 0.02
FLOOR | TILE | D | INTACT | GREY | 1800 SOLAR DR | FIRST | LOBBY |  | A IS SOLAR DR | Negative | 0.02
WALL | DRYWALL | A | INTACT | WHITE | 1800 SOLAR DR | FIRST | LOBBY |  | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | B | INTACT | WHITE | 1800 SOLAR DR | FIRST | LOBBY |  | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | B | INTACT | WHITE | 1800 SOLAR DR | FIRST | MAIN ROOM | SOUTH WING | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | C | INTACT | WHITE | 1800 SOLAR DR | FIRST | MAIN ROOM | SOUTH WING | A IS SOLAR DR | Negative | 0
COLUMN | DRYWALL | C | INTACT | WHITE | 1800 SOLAR DR | FIRST | MAIN ROOM | SOUTH WING | A IS SOLAR DR | Negative | 0
WINDOW | METAL | A | INTACT | GREEN | 1800 SOLAR DR | FIRST | MAIN ROOM | SOUTH WING | A IS SOLAR DR | Negative | 0
DOOR | WOOD | B | INTACT | GREEN | 1800 SOLAR DR | FIRST | MAIN ROOM | SOUTH WING | A IS SOLAR DR | Negative | 0
DOOR FR | METAL | B | INTACT | GREEN | 1800 SOLAR DR | FIRST | MAIN ROOM | SOUTH WING | A IS SOLAR DR | Negative | 0
DOOR FR | METAL | A | INTACT | GREEN | 1800 SOLAR DR | FIRST | NORTH WING MECH. AREA | NORTH WING | A IS SOLAR DR | Negative | 0
DOOR | METAL | A | INTACT | GREEN | 1800 SOLAR DR | FIRST | NORTH WING MECH. AREA | NORTH WING | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | A | INTACT | WHITE | 1800 SOLAR DR | FIRST | NORTH WING MECH. AREA | NORTH WING | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | B | INTACT | WHITE | 1800 SOLAR DR | FIRST | NORTH WING MECH. AREA | NORTH WING | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | C | INTACT | WHITE | 1800 SOLAR DR | FIRST | NORTH WING MECH. AREA | NORTH WING | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | D | INTACT | WHITE | 1800 SOLAR DR | FIRST | NORTH WING MECH. AREA | NORTH WING | A IS SOLAR DR | Negative | 0
WINDOW | METAL | B | INTACT | GREEN | 1800 SOLAR DR | FIRST | NORTH WING MECH. AREA | NORTH WING | A IS SOLAR DR | Negative | 0
WALL | TILE | A | INTACT | GREY | 1800 SOLAR DR | FIRST | MENS RR | NORTH WING | A IS SOLAR DR | Positive | 21.7
WALL | TILE | B | INTACT | GREY | 1800 SOLAR DR | FIRST | MENS RR | NORTH WING | A IS SOLAR DR | Positive | 25.2
WALL | TILE | C | INTACT | GREY | 1800 SOLAR DR | FIRST | MENS RR | NORTH WING | A IS SOLAR DR | Positive | 24.6
WALL | TILE | D | INTACT | GREY | 1800 SOLAR DR | FIRST | MENS RR | NORTH WING | A IS SOLAR DR | Positive | 22.3
FLOOR | TILE | D | INTACT | GREY | 1800 SOLAR DR | FIRST | MENS RR | NORTH WING | A IS SOLAR DR | Negative | 0
WALL | ACCENT TILE | D | INTACT | GREEN | 1800 SOLAR DR | FIRST | MENS RR | NORTH WING | A IS SOLAR DR | Negative | 0.01
SINK | PORC | D | INTACT | WHITE | 1800 SOLAR DR | FIRST | MENS RR | NORTH WING | A IS SOLAR DR | Negative | 0.02
TOILET | PORC | B | INTACT | WHITE | 1800 SOLAR DR | FIRST | MENS RR | NORTH WING | A IS SOLAR DR | Negative | 0
URINAL | PORC | B | INTACT | WHITE | 1800 SOLAR DR | FIRST | MENS RR | NORTH WING | A IS SOLAR DR | Negative | 0
TOILET | PORC | D | INTACT | WHITE | 1800 SOLAR DR | FIRST | WOMENS RR | NORTH WING | A IS SOLAR DR | Negative | 0.09
SINK | PORC | B | INTACT | WHITE | 1800 SOLAR DR | FIRST | WOMENS RR | NORTH WING | A IS SOLAR DR | Negative | 0.01
WALL | TILE | A | INTACT | GREY | 1800 SOLAR DR | FIRST | WOMENS RR | NORTH WING | A IS SOLAR DR | Positive | 23.7
WALL | TILE | B | INTACT | GREY | 1800 SOLAR DR | FIRST | WOMENS RR | NORTH WING | A IS SOLAR DR | Positive | 21.5
WALL | TILE | C | INTACT | GREY | 1800 SOLAR DR | FIRST | WOMENS RR | NORTH WING | A IS SOLAR DR | Positive | 23.9
WALL | TILE | D | INTACT | GREY | 1800 SOLAR DR | FIRST | WOMENS RR | NORTH WING | A IS SOLAR DR | Positive | 22.2
FLOOR | TILE | D | INTACT | GREY | 1800 SOLAR DR | FIRST | WOMENS RR | NORTH WING | A IS SOLAR DR | Negative | 0
FLOOR | TILE | D | INTACT | GREY | 1800 SOLAR DR | FIRST | WOMENS RR | SOUTH WING | A IS SOLAR DR | Negative | 0
WALL | TILE | A | INTACT | GREY | 1800 SOLAR DR | FIRST | WOMENS RR | SOUTH WING | A IS SOLAR DR | Positive | 24.7
WALL | TILE | B | INTACT | GREY | 1800 SOLAR DR | FIRST | WOMENS RR | SOUTH WING | A IS SOLAR DR | Positive | 21.1
WALL | TILE | C | INTACT | GREY | 1800 SOLAR DR | FIRST | WOMENS RR | SOUTH WING | A IS SOLAR DR | Positive | 23.2
WALL | TILE | D | INTACT | GREY | 1800 SOLAR DR | FIRST | WOMENS RR | SOUTH WING | A IS SOLAR DR | Positive | 25.6
WALL | TILE | A | INTACT | GREY | 1800 SOLAR DR | FIRST | MENS RR | SOUTH WING | A IS SOLAR DR | Positive | 21.3
WALL | TILE | B | INTACT | GREY | 1800 SOLAR DR | FIRST | MENS RR | SOUTH WING | A IS SOLAR DR | Positive | 25
WALL | TILE | C | INTACT | GREY | 1800 SOLAR DR | FIRST | MENS RR | SOUTH WING | A IS SOLAR DR | Positive | 21.9
WALL | TILE | D | INTACT | GREY | 1800 SOLAR DR | FIRST | MENS RR | SOUTH WING | A IS SOLAR DR | Positive | 24.4
FLOOR | TILE | D | INTACT | GREY | 1800 SOLAR DR | FIRST | MENS RR | SOUTH WING | A IS SOLAR DR | Negative | 0
FLOOR | TILE | D | INTACT | GREY | 1800 SOLAR DR | SECOND | MENS RR | SOUTH WING | A IS SOLAR DR | Negative | 0
WALL | TILE | A | INTACT | GREY | 1800 SOLAR DR | SECOND | MENS RR | SOUTH WING | A IS SOLAR DR | Positive | 23.2
WALL | TILE | B | INTACT | GREY | 1800 SOLAR DR | SECOND | MENS RR | SOUTH WING | A IS SOLAR DR | Positive | 21.8
WALL | TILE | C | INTACT | GREY | 1800 SOLAR DR | SECOND | MENS RR | SOUTH WING | A IS SOLAR DR | Positive | 22.5
WALL | TILE | D | INTACT | GREY | 1800 SOLAR DR | SECOND | MENS RR | SOUTH WING | A IS SOLAR DR | Positive | 21.6
MOP SINK | PORC | D | INTACT | WHITE | 1800 SOLAR DR | SECOND | MENS RR | SOUTH WING | A IS SOLAR DR | Negative | 0
SINK | PORC | B | INTACT | WHITE | 1800 SOLAR DR | SECOND | MENS RR | SOUTH WING | A IS SOLAR DR | Negative | 0.02
URINAL | PORC | D | INTACT | WHITE | 1800 SOLAR DR | SECOND | MENS RR | SOUTH WING | A IS SOLAR DR | Negative | 0
TOILET | PORC | D | INTACT | WHITE | 1800 SOLAR DR | SECOND | MENS RR | SOUTH WING | A IS SOLAR DR | Negative | 0
TOILET | PORC | A | INTACT | WHITE | 1800 SOLAR DR | SECOND | WOMENS RR | SOUTH WING | A IS SOLAR DR | Negative | 0
SINK | PORC | C | INTACT | WHITE | 1800 SOLAR DR | SECOND | WOMENS RR | SOUTH WING | A IS SOLAR DR | Negative | 0.01
WALL | TILE | A | INTACT | GREY | 1800 SOLAR DR | SECOND | WOMENS RR | SOUTH WING | A IS SOLAR DR | Positive | 21.6
WALL | TILE | B | INTACT | GREY | 1800 SOLAR DR | SECOND | WOMENS RR | SOUTH WING | A IS SOLAR DR | Positive | 23.9
WALL | TILE | C | INTACT | GREY | 1800 SOLAR DR | SECOND | WOMENS RR | SOUTH WING | A IS SOLAR DR | Positive | 22.6
WALL | TILE | D | INTACT | GREY | 1800 SOLAR DR | SECOND | WOMENS RR | SOUTH WING | A IS SOLAR DR | Positive | 21
FLOOR | TILE | D | INTACT | GREY | 1800 SOLAR DR | SECOND | WOMENS RR | SOUTH WING | A IS SOLAR DR | Negative | 0
COLUMN | DRYWALL | D | INTACT | BLUE | 1800 SOLAR DR | SECOND | LARGE ROOM | SOUTH WING | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | D | INTACT | GREY | 1800 SOLAR DR | SECOND | LARGE ROOM | SOUTH WING | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | A | INTACT | GREY | 1800 SOLAR DR | SECOND | LARGE ROOM | SOUTH WING | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | B | INTACT | GREY | 1800 SOLAR DR | SECOND | LARGE ROOM | SOUTH WING | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | C | INTACT | GREY | 1800 SOLAR DR | SECOND | LARGE ROOM | SOUTH WING | A IS SOLAR DR | Negative | 0
WINDOW | METAL | C | INTACT | GREEN | 1800 SOLAR DR | SECOND | LARGE ROOM | SOUTH WING | A IS SOLAR DR | Negative | 0
DOOR | WOOD | A | INTACT | GREEN | 1800 SOLAR DR | SECOND | LARGE ROOM | SOUTH WING | A IS SOLAR DR | Negative | 0
DOOR FR | METAL | A | INTACT | GREEN | 1800 SOLAR DR | SECOND | LARGE ROOM | SOUTH WING | A IS SOLAR DR | Negative | 0
DOOR FR | METAL | B | INTACT | GREEN | 1800 SOLAR DR | SECOND | LARGE ROOM | NORTH WING | A IS SOLAR DR | Negative | 0
DOOR | WOOD | B | INTACT | GREEN | 1800 SOLAR DR | SECOND | LARGE ROOM | NORTH WING | A IS SOLAR DR | Negative | 0
WINDOW | METAL | B | INTACT | GREEN | 1800 SOLAR DR | SECOND | LARGE ROOM | NORTH WING | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | A | INTACT | GREY | 1800 SOLAR DR | SECOND | LARGE ROOM | NORTH WING | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | B | INTACT | GREY | 1800 SOLAR DR | SECOND | LARGE ROOM | NORTH WING | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | C | INTACT | GREY | 1800 SOLAR DR | SECOND | LARGE ROOM | NORTH WING | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | D | INTACT | GREY | 1800 SOLAR DR | SECOND | LARGE ROOM | NORTH WING | A IS SOLAR DR | Negative | 0
COLUMN | DRYWALL | D | INTACT | GREY | 1800 SOLAR DR | SECOND | LARGE ROOM | NORTH WING | A IS SOLAR DR | Negative | 0
FLOOR | TILE | D | INTACT | GREY | 1800 SOLAR DR | SECOND | MENS RR | NORTH WING | A IS SOLAR DR | Negative | 0.01
WALL | TILE | A | INTACT | GREY | 1800 SOLAR DR | SECOND | MENS RR | NORTH WING | A IS SOLAR DR | Positive | 21.1
WALL | TILE | B | INTACT | GREY | 1800 SOLAR DR | SECOND | MENS RR | NORTH WING | A IS SOLAR DR | Positive | 21.1
WALL | TILE | C | INTACT | GREY | 1800 SOLAR DR | SECOND | MENS RR | NORTH WING | A IS SOLAR DR | Positive | 24.6
WALL | TILE | D | INTACT | GREY | 1800 SOLAR DR | SECOND | MENS RR | NORTH WING | A IS SOLAR DR | Positive | 20.6
CEILING | DRYWALL | D | INTACT | WHITE | 1800 SOLAR DR | SECOND | MENS RR | NORTH WING | A IS SOLAR DR | Negative | 0.01
DOOR | METAL | D | INTACT | WHITE | 1800 SOLAR DR | SECOND | MENS RR | NORTH WING | A IS SOLAR DR | Negative | 0
DOOR FR | METAL | D | INTACT | WHITE | 1800 SOLAR DR | SECOND | MENS RR | NORTH WING | A IS SOLAR DR | Negative | 0
DOOR FR | METAL | D | INTACT | WHITE | 1800 SOLAR DR | SECOND | WOMENS RR | NORTH WING | A IS SOLAR DR | Negative | 0
DOOR | METAL | D | INTACT | WHITE | 1800 SOLAR DR | SECOND | WOMENS RR | NORTH WING | A IS SOLAR DR | Negative | 0
FLOOR | TILE | D | INTACT | GREY | 1800 SOLAR DR | SECOND | WOMENS RR | NORTH WING | A IS SOLAR DR | Negative | 0
WALL | TILE | A | INTACT | GREY | 1800 SOLAR DR | SECOND | WOMENS RR | NORTH WING | A IS SOLAR DR | Positive | 24.4
WALL | TILE | B | INTACT | GREY | 1800 SOLAR DR | SECOND | WOMENS RR | NORTH WING | A IS SOLAR DR | Positive | 24.2
WALL | TILE | C | INTACT | GREY | 1800 SOLAR DR | SECOND | WOMENS RR | NORTH WING | A IS SOLAR DR | Positive | 23.3
WALL | TILE | D | INTACT | GREY | 1800 SOLAR DR | SECOND | WOMENS RR | NORTH WING | A IS SOLAR DR | Positive | 24.3
FLOOR | CONCRETE | D | INTACT | GREY | 1800 SOLAR DR | SECOND | BALCONY | NORTH WING | A IS SOLAR DR | Negative | 0
RAIL | METAL | D | INTACT | GREY | 1800 SOLAR DR | SECOND | BALCONY | NORTH WING | A IS SOLAR DR | Negative | 0
WALL | PLASTER | D | INTACT | BEIGE | 1800 SOLAR DR | SECOND | BALCONY | NORTH WING | A IS SOLAR DR | Negative | 0
WINDOW | METAL | D | INTACT | BLK | 1800 SOLAR DR | SECOND | BALCONY | NORTH WING | A IS SOLAR DR | Negative | 0
WINDOW | METAL | D | INTACT | BLK | 1800 SOLAR DR | THIRD | BALCONY | NORTH WING | A IS SOLAR DR | Negative | 0
RAIL | METAL | D | INTACT | BLK | 1800 SOLAR DR | THIRD | BALCONY | NORTH WING | A IS SOLAR DR | Negative | 0
WALL | PLASTER | D | INTACT | BEIGE | 1800 SOLAR DR | THIRD | BALCONY | NORTH WING | A IS SOLAR DR | Negative | 0
FLOOR | CONCRETE | D | INTACT | GREY | 1800 SOLAR DR | THIRD | BALCONY | NORTH WING | A IS SOLAR DR | Negative | 0
COLUMN | DRYWALL | D | INTACT | GREY | 1800 SOLAR DR | THIRD | MAIN ROOM | NORTH WING | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | A | INTACT | TAN | 1800 SOLAR DR | THIRD | MAIN ROOM | NORTH WING | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | B | INTACT | TAN | 1800 SOLAR DR | THIRD | MAIN ROOM | NORTH WING | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | C | INTACT | GREEN | 1800 SOLAR DR | THIRD | MAIN ROOM | NORTH WING | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | D | INTACT | GREEN | 1800 SOLAR DR | THIRD | MAIN ROOM | NORTH WING | A IS SOLAR DR | Negative | 0
WINDOW | METAL | D | INTACT | GREEN | 1800 SOLAR DR | THIRD | MAIN ROOM | NORTH WING | A IS SOLAR DR | Negative | 0
DOOR | METAL | A | INTACT | GREEN | 1800 SOLAR DR | THIRD | MAIN ROOM | NORTH WING | A IS SOLAR DR | Negative | 0
DOOR FR | METAL | A | INTACT | GREEN | 1800 SOLAR DR | THIRD | MAIN ROOM | NORTH WING | A IS SOLAR DR | Negative | 0
FLOOR | TILE | A | INTACT | GREY | 1800 SOLAR DR | THIRD | MENS RR | NORTH WING | A IS SOLAR DR | Negative | 0
WALL | TILE | A | INTACT | GREY | 1800 SOLAR DR | THIRD | MENS RR | NORTH WING | A IS SOLAR DR | Positive | 22.3
WALL | TILE | B | INTACT | GREY | 1800 SOLAR DR | THIRD | MENS RR | NORTH WING | A IS SOLAR DR | Positive | 21.5
WALL | TILE | C | INTACT | GREY | 1800 SOLAR DR | THIRD | MENS RR | NORTH WING | A IS SOLAR DR | Positive | 23.7
WALL | TILE | D | INTACT | GREY | 1800 SOLAR DR | THIRD | MENS RR | NORTH WING | A IS SOLAR DR | Positive | 23.8
URINAL | PORC | B | INTACT | WHITE | 1800 SOLAR DR | THIRD | MENS RR | NORTH WING | A IS SOLAR DR | Negative | 0
TOILET | PORC | B | INTACT | WHITE | 1800 SOLAR DR | THIRD | MENS RR | NORTH WING | A IS SOLAR DR | Negative | 0
SINK | PORC | D | INTACT | WHITE | 1800 SOLAR DR | THIRD | MENS RR | NORTH WING | A IS SOLAR DR | Negative | 0.02
CEILING | DRYWALL | D | INTACT | WHITE | 1800 SOLAR DR | THIRD | MENS RR | NORTH WING | A IS SOLAR DR | Negative | 0
CEILING | DRYWALL | D | INTACT | WHITE | 1800 SOLAR DR | THIRD | WOMENS RR | NORTH WING | A IS SOLAR DR | Negative | 0
SINK | PORC | B | INTACT | WHITE | 1800 SOLAR DR | THIRD | WOMENS RR | NORTH WING | A IS SOLAR DR | Negative | 0.03
TOILET | PORC | D | INTACT | WHITE | 1800 SOLAR DR | THIRD | WOMENS RR | NORTH WING | A IS SOLAR DR | Negative | 0
DOOR | METAL | D | INTACT | WHITE | 1800 SOLAR DR | THIRD | WOMENS RR | NORTH WING | A IS SOLAR DR | Negative | 0
DOOR FR | METAL | D | INTACT | WHITE | 1800 SOLAR DR | THIRD | WOMENS RR | NORTH WING | A IS SOLAR DR | Negative | 0
FLOOR | TILE | D | INTACT | GREY | 1800 SOLAR DR | THIRD | WOMENS RR | NORTH WING | A IS SOLAR DR | Negative | 0
WALL | TILE | A | INTACT | GREY | 1800 SOLAR DR | THIRD | WOMENS RR | NORTH WING | A IS SOLAR DR | Positive | 20.4
WALL | TILE | B | INTACT | GREY | 1800 SOLAR DR | THIRD | WOMENS RR | NORTH WING | A IS SOLAR DR | Positive | 23.3
WALL | TILE | C | INTACT | GREY | 1800 SOLAR DR | THIRD | WOMENS RR | NORTH WING | A IS SOLAR DR | Positive | 21.3
WALL | TILE | D | INTACT | GREY | 1800 SOLAR DR | THIRD | WOMENS RR | NORTH WING | A IS SOLAR DR | Positive | 21.8
WALL | TILE | A | INTACT | GREY | 1800 SOLAR DR | THIRD | WOMENS RR | SOUTH WING | A IS SOLAR DR | Positive | 22.3
WALL | TILE | B | INTACT | GREY | 1800 SOLAR DR | THIRD | WOMENS RR | SOUTH WING | A IS SOLAR DR | Positive | 22.2
WALL | TILE | C | INTACT | GREY | 1800 SOLAR DR | THIRD | WOMENS RR | SOUTH WING | A IS SOLAR DR | Positive | 20.6
WALL | TILE | D | INTACT | GREY | 1800 SOLAR DR | THIRD | WOMENS RR | SOUTH WING | A IS SOLAR DR | Positive | 22.4
FLOOR | TILE | D | INTACT | GREY | 1800 SOLAR DR | THIRD | WOMENS RR | SOUTH WING | A IS SOLAR DR | Negative | 0.01
WALL | ACCENT TILE | D | INTACT | GREEN | 1800 SOLAR DR | THIRD | WOMENS RR | SOUTH WING | A IS SOLAR DR | Negative | 0
WALL | ACCENT TILE | D | INTACT | GREEN | 1800 SOLAR DR | THIRD | WOMENS RR | SOUTH WING | A IS SOLAR DR | Negative | 0.01
WALL | ACCENT TILE | D | INTACT | GREEN | 1800 SOLAR DR | THIRD | MENS RR | SOUTH WING | A IS SOLAR DR | Negative | 0.01
WALL | TILE | A | INTACT | GREY | 1800 SOLAR DR | THIRD | MENS RR | SOUTH WING | A IS SOLAR DR | Positive | 21.6
WALL | TILE | B | INTACT | GREY | 1800 SOLAR DR | THIRD | MENS RR | SOUTH WING | A IS SOLAR DR | Positive | 23.4
WALL | TILE | C | INTACT | GREY | 1800 SOLAR DR | THIRD | MENS RR | SOUTH WING | A IS SOLAR DR | Positive | 24
WALL | TILE | D | INTACT | GREY | 1800 SOLAR DR | THIRD | MENS RR | SOUTH WING | A IS SOLAR DR | Positive | 23.6
MOP SINK | PORC | C | INTACT | WHITE | 1800 SOLAR DR | THIRD | MENS RR | SOUTH WING | A IS SOLAR DR | Negative | 0
SINK | PORC | C | INTACT | WHITE | 1800 SOLAR DR | THIRD | MENS RR | SOUTH WING | A IS SOLAR DR | Negative | 0.01
TOILET | PORC | A | INTACT | WHITE | 1800 SOLAR DR | THIRD | MENS RR | SOUTH WING | A IS SOLAR DR | Negative | 0.01
URINAL | PORC | A | INTACT | WHITE | 1800 SOLAR DR | THIRD | MENS RR | SOUTH WING | A IS SOLAR DR | Negative | 0
DOOR | METAL | C | INTACT | WHITE | 1800 SOLAR DR | THIRD | MENS RR | SOUTH WING | A IS SOLAR DR | Negative | 0
DOOR FR | METAL | C | INTACT | WHITE | 1800 SOLAR DR | THIRD | MENS RR | SOUTH WING | A IS SOLAR DR | Negative | 0
CEILING | DRYWALL | C | INTACT | WHITE | 1800 SOLAR DR | THIRD | MENS RR | SOUTH WING | A IS SOLAR DR | Negative | 0
COLUMN | DRYWALL | C | INTACT | BLUE | 1800 SOLAR DR | THIRD | MAIN ROOM | SOUTH WING | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | C | INTACT | GREY | 1800 SOLAR DR | THIRD | MAIN ROOM | SOUTH WING | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | B | INTACT | WHITE | 1800 SOLAR DR | THIRD | MAIN ROOM | SOUTH WING | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | D | INTACT | WHITE | 1800 SOLAR DR | THIRD | MAIN ROOM | SOUTH WING | A IS SOLAR DR | Negative | 0
WALL | DRYWALL | C | INTACT | GREEN | 1800 SOLAR DR | THIRD | MAIN ROOM | SOUTH WING | A IS SOLAR DR | Negative | 0
WINDOW | METAL | C | INTACT | GREEN | 1800 SOLAR DR | THIRD | MAIN ROOM | SOUTH WING | A IS SOLAR DR | Negative | 0
DOOR | METAL | C | INTACT | GREEN | 1800 SOLAR DR | THIRD | MAIN ROOM | SOUTH WING | A IS SOLAR DR | Negative | 0
DOOR FR | METAL | C | INTACT | GREEN | 1800 SOLAR DR | THIRD | MAIN ROOM | SOUTH WING | A IS SOLAR DR | Negative | 0
CALIBRATE | [9 empty] | Positive | 1
CALIBRATE | [9 empty] | Positive | 1
CALIBRATE | [9 empty] | Positive | 1